Gokula Krishna college of Engineering –Sullurpet

Department of CIVIL Engineering

II B.TECH, I SEMESTER

ELECTRICAL AND MECHANICAL TECHNOLOGY

Time: 3 hours                                                                                                                       Max. Marks: 70

PART-A

UNIT-1

- a) Derive star-delta and delta-star transformation.

b)  Derive Root mean square and average values of alternating quantities , form factor and peak     factor.

OR

- a) Explain series and parallel resistive networks.

b) Explain ohms law.

c) Explain Kirchhoff’s laws.

d) Draw sinusoidal waveforms and explain basic definitions.

UNIT-2

- a) Explain the types of DC generators.

b) Derive the emf equation of D.C generator and torque equation of DC motor.

OR

- a) Speed control methods of shunt motor.

b) Losses and efficiency calculation in DC motor.

UNIT-3

- a) Define and derive the equation for efficiency and condition for maximum efficiency

b) Explain OC and SC test’s.

OR

6) 	a) State the working principle of 3-Ø induction motor and define the following

i) slip ii) slip speed

b) Derive and explain slip and rotor frequency and torque equations.